Australian Optical Society

Multiplex, continuous-wave spectroscopic sensing with a

swept ringdown cavity and optical heterodyne detection

Brian J. ORR and Yabai HE

Department of Chemistry and Centre for Lasers & Applications, Macquarie University, Sydney, NSW 2109, Australia

Phone:  +61 2 9850 8289;  Fax:  +61 2 9850 8313;  Email:  brian.orr@mq.edu.au

Cavity ringdown (CRD) absorption spectroscopy with continuous-wave (cw) tunable coherent sources is a convenient, sensitive, precise way to measure very weak optical absorption spectra.  We have introduced several innovations in CRD technique, with one or more single-mode tunable diode laser (TDL) sources, a rapidly swept ringdown cavity, and a simple optical-heterodyne-detected (OHD) approach.

Our OHD cw-CRD spectrometer attains an excellent noise-limited absorption sensitivity (3x10-9 cm-1 at ~1.55 mm).  Its layout allows single-ended detection, with the optical transmitter and receiver collocated and coupled via free-space propagation or by optical fibre to one or more semi-remote locations where a ringdown cavity and its piezoelectric cavity-sweep driver are positioned.

Another advantage of our OHD cw-CRD method is that it is amenable to multi-wavelength detection schemes, using several fixed-wavelength TDLs together with fibre-optic and other standard photonics or telecommunications components.

Our approaches to cw-CRD spectroscopy offer high performance in a relatively simple, low-cost, compact instrument that can be used for chemical analysis of trace gases in industrial, agricultural, environmental, and medical situations.  We report recent developments and applications in this regard.

For additional information, see our three papers:  Chem. Phys. Lett., 319, 131 – 137 (2000);  Chem. Phys. Lett., 335, 215 – 220 (2001);  J. Chinese Chemical Society, 48, 591 – 601 (2001).